## 2025214
BID PROPOSAL
CANNONGATE / HARPERS FERRY BLVD FROM SUMMIT BLVD TO CANNON WAY
FEDERALIZED CONTRACT
PBC PROJECT #2025214
# | FDOT ITEM NUMBER | ITEM DESCRIPTION | QTY | UNITS | UNIT PRICE | AMOUNT
ROADWAY ITEMS
1 | 101-1 | Mobilization | 1 | LS |  | 0
2 | 102-1 | Maintenance of Traffic (includes Pedestrian MOT) | 1 | LS |  | 0
3 | 110-1-1 | Clearing and Grubbing (includes concrete removal) | 1 | LS |  | 0
4 | 285-x | #57 Coarse Aggregate (FDOT) | 40 | TN |  | 0
5 | 327-70 | Mill Existing Asphalt Pavement (1") | 6000 | SY |  | 0
6 | N/A | Portable Milling Machine | 10 | HR |  | 0
8 | 337-7-82 | Asphaltic Concrete Superpave (Traffic C) (SP-9.5) Rubber | 400 | TN |  | 0
9 | N/A | Speed Humps (Seminole Type - See Detail) | 147 | SY |  | 0
10 | 425-052 | Inlet (Ditch Bottom ) (Type D) | 1 | EA |  | 0
11 | 425-054 | Inlets (Ditch Bottom ) (Type J) | 2 | EA |  | 0
12 | 430-175-18 | Pipe Culvert (Polypropolene) (18") | 156 | LF |  | 0
13 | 430-175-30 | Pipe Culvert (RCP) (30") | 102 | LF |  | 0
14 | 430-030 | Concrete Endwalls (30") | 2 | EA |  | 0
15 | 522-1 | Concrete Sidewalk (4" thick) | 267 | SY |  | 0
16 | 522-2 | Concrete Sidewalk (6" thick) (Curb Ramps) | 75 | SY |  | 0
17 | 527-2 | ADA Detectable Warnings (cast in place) | 140 | SF |  | 0
18 | 570-1-2 | (Sodding) (Match Existing) | 1500 | SY |  | 0
[5 empty] | SUBTOTAL (ROADWAY) | 0
SIGNALIZATION & PAVEMENT MARKING PAY ITEMS
19 | 700-3501 | Sign (Single) (Remove and Reset) | 5 | EA |  | 0
20 | 711-11-12 | Thermoplastic, Std, White, Solid 6" | 0.5 | GM |  | 0
21 | 711-11-12 | Thermoplastic, Std, Solid 6" Yellow | 0.5 | GM |  | 0
22 | 711-11-12 | Thermoplastic, Std, 24" Solid White | 120 | LF |  | 0
23 | 706-1-1 | Retro-Reflective Pavement marker, Amber/Amber; Bi-Directional | 120 | EA |  | 0
SUBTOTAL (SIGNALIZATION & PAVEMENT MARKING) | [5 empty] | 0
CONTINGENCY ITEMS
24 | 102-99 | Portable Changeable Message Sign (Non MOT) | 10 | ED |  | 0
25 | 430-030 | Concrete Endwalls (18") | 2 | EA |  | 0
26 | N/A | Storm Sewer Cleaning (Exist.) (24" or Less) (See SP's) | 715 | LF |  | 0
27 | N/A | Storm Sewer Cleaning (Exist.) (> 24" to 48") (See SP's) | 360 | LF |  | 0
28 | N/A | Support and Protect Existing Utility | 100 | LF |  | 0
29 | 102-14 | Traffic Control Officer (Non MOT) | 10 | HR |  | 0
[5 empty] | SUBTOTAL (CONTINGENCY) | 0
TOTAL BID |  |  |  |  | 0
THE COUNTY DOES NOT GUARANTEE THE ACCURACY OF THE FORMULAS AND EXTENSIONS USED IN THIS SPREADSHEET.
THE ITEMS AND QUANTITIES ABOVE, SHALL GOVERN OVER THE PLANS.
PAY ITEM FOOTNOTES IN CONSTRUCTION PLANS SHALL ALSO BE INCLUDED IN ITEM UNIT PRICE.
Note # | FDOT Item # | PAY ITEM FOOTNOTES
1 | All | All items shall include cost to furnish and install unless otherwise noted.
2 | All | FDOT Item numbers are for information only.
3 | 101-1 | Mobilization : Includes NPDES Erosion Control Measures and turbidity barriers.
4 | 102-1 | Maintenance of Traffic : Includes all provision and maintenance of necessary signs, advanced warning,variable message boards, all detour signs and barricades, and any railroad MOT required for the duration of the project. MOT shall include the cost of any temporary pavement, temporary conc., barriers, temporary wire faced wall, temporary pavement markings, etc. as required.
5 | 110-1-1 | Clearing and grubbing (inc. concrete removal) to include all necessary removal of header curb, sidewalks, ADA, asphalt, existing pipe and endwalls, and other removal called out in the Contract or as necessary to complete the Work
6 | 522-x | Majority of Sidewalk work will be ADA ramps. This item includes any curb required for the ADA ramps. Sidewalk shall include removal of existing concrete sidewalk / ADA ramps and associated curbing. All curb ramps to be 6" thick concrete per FDOT specifications 522-001.
7 | All | Linear Foot (LF) Units are net lengths
8 | 711-11-12 | Unless otherwise noted, all striping quantities shown are net lengths and include only the length of the stripe to be installed, and do not account for any gaps or skips in the striping.
9 | 711-11-12 | Per Palm Beach County Typical, Thermoplastic shall not be installed on roadway fourteen (14) calendar days after the final lift of asphalt has been has been completed, Unless otherwise specified by palm Beach County Traffic Engineer.
10 | 706-1-1 | RPM’s to be installed with Epoxy only on bull noses raised medians and all other RPM’s in the roadway are installed in thermoplastic.
11 | N/A | Speed Humps shall include removal of existing speed hump.
12 | 430-030 | Concrete Endwalls (straight single pipe) shall include any costs for coffer-dam construction and dewatering
13 | 430-175-xxx | All Pipe Culvert items shall include all labor, material, equipment, and incidentals necessary to install pipe culverts, to include but not limited to any embankment and excavation required, select bedding material (per requirements shown in pipe replacement details), concrete collar, coffer-dam construction and dewatering, de-mucking or shoring, finish grading, as necessary for installation of the pipe culvert. Pipe material shall be as specified in the scope and per details. Includes video inspection of the pipe per Special Provisions Section 430. (excluding sod)
14 | 430-175-18 | Polypropolene pipe includes cost of backfill operations and pavement restoration.
15 | 425-xxx | Drainage structures include removal of existing drainage structure and cost of connecting existing pipe to proposed structures and any dewatering or shoring construction. All Ditch Bottom Inlet Grates shall be H-25 rated.